Fixed | Entered manually | Entered by agents?

Test Report “Product name & brief description “ Test(s) description Test Report No: TR # associated DNV certificate ref no AOSSOOOOHYU, valid to 2027-06-27 Issued by WIND R&D - Mechanical Testing Laboratory

| Test Location | OCV Chambéry International, 767 quai des Allobroges, 73000 Chambéry ¦ France |  |
| --- | --- | --- |
| Tests Requester: | R. REGATTIERI |  |
| Tasks: | Product name & brief description - TEST 1 + associated STANDARD REF - TEST 2 + associated STANDARD REF - … |  |
| Test Period: | YY/MM |  |
| Test Materials will be kept for: | 15 days |  |
| Written by: | Writter name | Date: PDF signature |
| Reviewed and Authorized by: | Validator name | Date: PDF signature |
| Distribution List: | Names |  |

| Version | Date | Changes History |
| --- | --- | --- |
| 1 | YY/MM/DD | Initial version |

Proprietary: Information herein is the property of Owens Corning Corporation.

The present document, its content, its appendices and/or amendments has been drawn up by Owens Corning OCV Chambéry International, Science & Technology Center, for information purposes only, and contains private and confidential information. Therefore, it should not be disclosed, published or distributed, partially or totally, without the prior written to written permission by Owens Corning.

# Table of contents

Table of contents	3

1.	Introduction	4

1.1.	Scope	4

1.2.	Results summary	4

1.3.	Description	4

1.3.1.	Testing Standards	5

1.3.2.	Other References	5

2.	Specimen preparation	5

2.1.	State of delivery	5

2.2.	Manufacturing	5

2.2.1.	Materials used for manufacturing.	5

2.2.2.	Manufacturing parameters	6

1.1.1.	Specimen tabbing	6

1.1.2.	Specimen machining	6

1.1.3.	Specimen identification	6

2.	Test standards and details	6

2.1.	Fiber content according to ISO 1172	6

2.1.1.	Test Standard	6

2.1.2.	Personnel	7

2.1.3.	Test Equipment and fixture	7

2.1.4.	Test conditions	7

2.1.5.	Test execution	7

2.1.6.	Results: Fiber weight content according to ISO 1172	7

2.3.	Tensile 0° test according to ISO 527-4	8

2.3.1.	Test Standard	8

2.3.2.	Personnel	8

2.3.3.	Test Equipment and fixture	8

2.3.4.	Test conditions	8

2.3.5.	Test execution	8

2.3.6.	Results	9

3.	Appendices	10

# Introduction

# Scope

Context and summary of the tests performed Potentially by IA as well

# Results summary

|  | Wf (%) ISO 1172 | Vf (%) | Porosity (%) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Average |  |  |  |  |  |  |
| Std deviation |  |  |  |  |  |  |
| CV |  |  |  |  |  |  |
| Maximum |  |  |  |  |  |  |
| Minimum |  |  |  |  |  |  |
| Rk (DNVGL-ST-0376) |  |  |  |  |  |  |
| Rk (GL2010) |  |  |  |  |  |  |

Wf : Fiber Weight Fraction (%)

Vf : Fiber Volume Fraction (%)

*Vf and porosity ratio values, are given as an indication. These data have been obtained following the standard ASTM D2734-B. Mechanical testing lab from OC CI is not DNV Certified on this method. Density of resin: x g/cm3; density of fiber: y g/cm3.

# Tests condition & coordinates reference

All the work conducted and reported here was performed according to standard ISO 291, class 2.

- The laboratory is conditioning and monitored at 23 + 2°C and 50 + 10% rel. Humidity

- All specimens are conditioned, at least, 16h at 23 + 2°C and 50 + 10% rel. Humidity prior test

- Specimens are cut using CNC milling machine (dry milling).

- Testing directions are aligned with the fabric coordinates (cf. Figure 1)

Figure 1 – Fabric coordinates

# Testing Standards

| Number | Title | DNV Certified |
| --- | --- | --- |
| ISO xyz | xyz | Yes |
| ASTM xyz | xyz | No |
| ISO xyz | xyz | Yes |

Table 1 - Testing standards

# OCV CI – Internal operating procedures

| Number | Title |
| --- | --- |
| MM.LEM.015 | Traction ISO 527-4 indice G |
| MM.LEM.022 | Taux de verre ISO 1172 indice F |
| MM.LEM.084 | Mesure de la densité, porosité, FWF, FVF indice C |

Table 2 - Other references

# Specimen preparation

# State of delivery

The composite parts were produced by OCV CI Wind Prototyping team. Manufacturing condition details are available the Infusion report in Appendix 2

# Manufacturing

# Materials used for manufacturing.

| Material description | Supplier | Production Date | Material Code | N° Batch | N° Roll | Mfg Plant |
| --- | --- | --- | --- | --- | --- | --- |
| xyz | xyz | xyz | xyz | xyz | xyz | xyz |

Table 3 - Reinforcement material identification

Certificate Of Analysis of the fabric are in appendix 1.

| Material description | Material name | Supplier | Batch N° |
| --- | --- | --- | --- |
| Resin | Xyz | Xyz | Xyz |
| Catalyst | xyz | xyz | Xyz |

Table 4 - Resin material identification

# Manufacturing parameters

| Laminate # |  | Depression | Infusion T° | Curing T° | Post-curing time / T° | OCV CI TF SOP N° |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | xyz | xyz | xyz | xyz | xyz |

Table 5 - Manufacturing parameters

# Specimen tabbing

The specimen end tabbing was made by OC CI according to IT.LEM.152.

| Material | +/-45° glass fiber with epoxy FR4 – Thickness 1,5 mm |
| --- | --- |
| Adhesive | SA 75-90 (for tabbing) – Curing cycle 8h 70°C |

Table 1 - Materials for tabbing

# Specimen identification

Each specimen is identified with an individual code as follows:

| Specimen identification |  |  |  |  |
| --- | --- | --- | --- | --- |
| Specimen identification |  | Test and direction |  | Specimen number |
| CI Request | CI Reference | Type of test | Roll Direction (°) |  |
| TR # | TR#_01/01 . . TR#_01/X | xyz | xyz | X |

Table 7 - Specimen identification

# Test standards and details

# Fiber content according to ISO 1172

# Personnel

- Technician: P. BERTELONE

# Test Equipment and fixture

| N° | Equipment | Type / description | Calibration date |
| --- | --- | --- | --- |
| 992 | Weighing scale | Accuracy of 0,01 g | 02/12/2026 |
| 578 | Muffle furnace, Heraeus M110 |  | 15/01/2027 |

Table 8 - Equipment for FWF determination

# Test conditions

- Number of specimens: 5

- Specimen geometry:  20 x 20 mm – (Thickness of the composite tested)

- Test atmosphere: 23 + 2°C, 50 + 10% rel. Humidity) class 2

# Test execution

# Results: Fiber weight content according to ISO 1172

| Specimen N° |  | Wf [%] | Vf [%]* | Density [g/cm3] * | Porosity (%) * |
| --- | --- | --- | --- | --- | --- |
| TR26_C0143_01 | 1 | 69,64 | 50,18 | 1,881 | 0,46 |
| TR26_C0143_01 | 2 | 70,42 | 51,05 | 1,892 | 0,59 |
| TR26_C0143_01 | 3 | 70,41 | 50,89 | 1,886 | 0,86 |
| TR26_C0143_01 | 4 | 69,80 | 50,24 | 1,879 | 0,73 |
| TR26_C0143_01 | 5 | 70,63 | 51,18 | 1,891 | 0,81 |
| Average |  | 70,18 | 50,71 | 1,886 | 0,69 |
| SD |  | 0,43 | 0,46 | 0,006 | 0,16 |
| CV |  | 0,01 | 0,01 | 0,003 | 0,24 |

Table 9 - TR26_C0143_01, Fiber content

Wf : Fiber Weight Fraction (%)

Vf : Fiber Volume Fraction (%)

*VF, density and porosity ratio values, are given as an indication. These data have been obtained following the standard ASTM D2734-B. Mechanical testing lab from OC CI is not DNV Certified on this method. Density of resin: Xg/cm3; density of fiber: Y g/cm3.

# Test Name A according to Standard reference

# Personnel

- Technician: Name

# Test Equipment and fixture

| N° | Equipment | Type / description |
| --- | --- | --- |
| xyz | xyz | xyz |
| xyz | xyz | xyz |
| xyz | xyz | xyz |

Table 10 - Tensile 0° -Test equipment and fixture

# Test conditions

- Number of specimens: X samples

- Specimen geometry: ISO 527/4 type 3

| Dimensions (mm) | Specimen size (mm) |
| --- | --- |
| Total length | 250 |
| Thickness | t |
| Width | 25 ± 0,5 |
| Distance between tabs | 150 ± 1 |
| Tabs length | 50 ± 0,5 |
| Tabs thickness | 1,5 ± 0,2 |

Table 11 – Test Name A - Specimen geometry

# Test execution

- Measurement of thickness with an accuracy of ±   0,001 mm and width with an accuracy of ±   0,01 mm

- Prestress: X MPa

- Test speed = Y mm/min

- Determination of max load, stress / strain curves, tensile strength, tensile chord modulus between 0,05 and 0,25 %, tensile strain, linear estimated strain and validity

- Statistical evaluation

- Evaluation of failure mode

# Results

Table of results from the CSV file or the DNV Characteristics values file

Detailed reports are provided in Appendix 2.

# Appendices

Appendix 1: Fabric certificate of analysis

Picture / screenshot of the COA from the TR folder

Appendix 2: Infusion report – Laminate # 260612VB-A

Picture / Screeshot or from TR folder or directly from WaveFront ?

Appendix 3: TRYY_CXXXX– Test name – Test report

Machine report + stress/strain curves

Appendix 3: TRYY_CXXXX– Test name – Pictures

Picture before test

Picture before test

END OF DOCUMENT